## Sheet1
Field Data Collected Near Beaver Run, March 3, 2012 | [5 empty] | Weather: sunny, windy
Samplers: Robert Cerrato (RC), Alex Hall (AH)
| Site ID | Collector | Time | pH | TDS (ppm) | Cond. (µS) | Temp. (C°) | Comments
| K-1 | RC, AH | 7:38 | 8.43 | 117 | 234 | 7.9 | Moderate flow from culvert
| K-2 | RC, AH | 7:44 | 8.09 | 115 | 231 | 4.8 | Moderate flow into reservoir
| K-3 | RC, AH | 7:57 | 7.89 | 293 | 587 | 9.5 | Low flow sediment in water
| K-4 | RC, AH | 7:53 | 8.09 | 255 | 514 | 7.2 | Low flow sediment in water
| K-5 | RC, AH | 7:49 | 8.05 | 232 | 468 | 5.3 | Low flow sediment in water
| K-6 | RC, AH | 8:02 |  |  |  |  | Dry
| K-7 | RC, AH | 8:05 |  |  |  |  | Dry
| K-8 | RC, AH | 8:10 | 7.38 | 40 | 80 | 4.5 | Low flow
| K-9 | RC, AH | 8:07 | 7.65 | 36 | 76 | 4 | Low flow
| K-10 | RC, AH | 8:16 | 6.56 | 37 | 74 | 8.4 | Low flow into reservoir